## Slide 1
Dynamic Reactive Power Compensation (DRPC) overview
Enabling a Stronger, Smarter and Greener Grid | Conny Wahlberg & Mikael Halonen, WETEX 2021; October 6, 2021

## Slide 2: Dynamic Reactive Power Compensation Presenters
Mikael Halonen
Head of Application Engineering
Grid and Power Quality Solutions
mikael.halonen@hitachi-powergrids.com
Conny Wahlberg
Sales & Marketing Manager Middle East & Africa
Grid and Power Quality Solutions
conny.wahlberg@hitachi-powergrids.com

## Slide 3: The changing power landscape Many drivers – one common need
Need for good Power Quality
Transmission and Distribution
Increasing energy production
Integration of renewables
Generation
Deal with distributed generation
Changing regulations grid code compliance
Reversible power flow
Aging infrastructure
Energy trading between regions
Increasing power consumption
Consumers
Faster and stronger transportation systems
New grids in emerging markets

## Slide 4: Power Quality – FACTS Flexible AC Transmission Systems
Power Quality technologies pave the transmission highway
Power grids under optimum conditions:
Increase transmission capacity
Improve grid stability
More power can reach consumers:
Minimum environmental impact
Shorter project implementation
Lower investment cost
Hitachi ABB Power Grids:
Worldwide leader
Complete Power Quality portfolio
All key equipment in-house
Reliable supplier

## Slide 5
Dynamic Shunt Compensation
Series Compensation
Static Frequency Conversion
SVC Classic
Improved voltage control and power quality
Load balancing
Flicker mitigation
Increased productivity
STATCOM
Similar benefits as for SVC Classic
More robust in weak grids
Higher performance flicker mitigation
Reduced footprint
Synchronous Condenser
Increase of short circuit power
Increased network inertia
Voltage fluctuation damping (+/- Mvar control)
E-STATCOM
Similar benefits as for STATCOM
Increased network inertia
Increase of short circuit power
Fixed Series Compensation
Increased power transfer capability
Improved voltage and transient stability
Improved voltage profile along the line
Thyristor Controlled Series Compensation (TCSC)
Power oscillation damping (POD)
Inherent immunity against sub synchronous resonance (SSR)
Dynamic power flow control
Series Reactors
Short-circuit current limiter
Power flow control
Rail Static Frequency Converter (SFC)
Active power in-feeding 3 phases-1 phase to 16,7/25Hz, 50/60 Hz
Full decoupling of grids
Independent, fast control of frequency, voltage, active and reactive power on both sides
Connection to weak grids
Power Quality – FACTS Portfolio

## Slide 6
Surge arrester and relay
Shunt reactor
Passive filter
Active filter/ Shunt capacitor
STATCOM/ SVC
BESS or UPS
Distr. Grid
LV
G
Single phase network (DC, 50 Hz or 16.7 Hz)
STATIC Frequency converter
MV line Regulator
Tap changer
MV
Storage
Active filter/ Shunt capacitor
Line voltage regulator
Shunt reactor
Storage
STATCOM/
SVC
Passive filter
MV or LV
Industry/ large commercial
Renewable generation
Volt/Var Control
Surge arrestor and relay
MicroSCADA
RTU500
TropOS
Passive filter Shunt capacitor
Smart Data/ Control Center ADMS, AVVMS
STATCOM/ SVC
Passive filter
Surge arrester and relay
Shunt reactor
Shunt capacitor
Series Compensation
Surge arrester and relay
BESS or UPS
Passive filter
Active filter/ Shunt capacitor
Series reactor
Surge arrester and relay
BESS or UPS
Shunt reactor
Passive filter
Active filter/ Shunt capacitor
STATCOM/ SVC
HVDC link
Passive filter
Series compensation
Offshore Wind parks or distant generation
Storage
DMS
Synchronous condenser
Energy intensive Industry
Transmission grid
Tap changers
Generation
Grid
Industry and large commercial
Residential and small commercial
Transportation
Power Quality – FACTS Applications & locations

## Slide 7
Dynamic Shunt Compensation
Series Compensation
Static Frequency Conversion
SVC Classic
Improved voltage control and power quality
Load balancing
Flicker mitigation
Increased productivity
STATCOM
Similar benefits as for SVC Classic
More robust in weak grids
Higher performance flicker mitigation
Reduced footprint
Synchronous Condenser
Increase of short circuit power
Increased network inertia
Voltage fluctuation damping (+/- Mvar control)
E-STATCOM
Similar benefits as for STATCOM
Increased network inertia
Increase of short circuit power
Fixed Series Compensation
Increased power transfer capability
Improved voltage and transient stability
Improved voltage profile along the line
Thyristor Controlled Series Compensation (TCSC)
Power oscillation damping (POD)
Inherent immunity against sub synchronous resonance (SSR)
Dynamic power flow control
Series Reactors
Short-circuit current limiter
Power flow control
Rail Static Frequency Converter (SFC)
Active power in-feeding 3 phases-1 phase to 16,7/25Hz, 50/60 Hz
Full decoupling of grids
Independent, fast control of frequency, voltage, active and reactive power on both sides
Connection to weak grids
Power Quality – FACTS Portfolio

## Slide 8: STATCOM technology
Yesterday
Today
Traditional STATCOM
    Single Branch up to 425 MVAR
Grid Forming, Inertia, Active Filtering, Multiple topologies
Traditional STATCOM
    Multiple VSC Branches over 150 MVAR
Larger Capacity → Reduced Footprint → Increased Functionality

## Slide 9: STATCOM Technology Increased Functionality - Comparison: Grid Following vs. Grid Forming
Grid Following (GFL) behavior
Grid Forming (GFM) behavior
  Instantaneous support for voltage
  Instantaneous support for frequency (SVC Light ® Enhanced)
  Contribution to system stability
  Relying on the voltage provided by the grid
  No instantaneous support for voltage and frequency stability
Current source
Controllable voltage source

## Slide 10: Hitachi ABB PG STATCOM Portfolio Overview
Selection criteria
The selection of converter solution should be done related to:
Capability of fulfilling application requirements in optimal way
Impact on other subsystems for optimizing the overall system cost, footprint, reliability and losses
Range and configuration
The ranges of the different STATCOMs are not rigid, meaning that they might overlap their ”specific ranges”
Parallel connection of SVC Light® MP may be used for selected projects as alternative to SVC Light® HP or two PCS6000 in parallel can be an alternative to one SVC Light® MP
3
MVar
Complete STATCOM portfolio from
Up to
425
MVar
with one single converter
PCS 6000
SVC Light®
STATCOM
for Distributed Power
IGCT
IGCT
IGBT
IGBT
± 20MVar ~ ± 40MVar
± 50MVar ~ ± 125MVar
± 100MVar ~ ± 425MVar
± 3MVar ~ ± 20 MVar

## Slide 11
EWA’s needs
Despite improvements in the network, e.g. the introduction of a 400 kV ring system, the system is prone to voltage collapse and delayed voltage recovery, involving power station outages, excessive motor stalling and load shedding. Therefore, EWA decided to install STATCOMs to mitigate voltage instabilities and to establish reliable power supply.
HAPG’s response
Turnkey delivery of three 220 kV STATCOMs, each rated -200/+200 Mvar
Contract awarded in June 2021
Less than two years delivery time
EWA’s benefits
Fully dynamic Mvars ensuring mitigation of voltage instabilities and reliable power supply
Unprecedented availability (>99.7% guaranteed) from one-branch VSC design with embedded redundancy
Single-branch VSC vouches for lowest maintenance and smallest footprint compared to other dynamic var solutions
Manama, Riffa and Hidd STATCOMs to EWA, BH Case study
Manama
Riffa
Hidd

## Slide 12
Dynamic Shunt Compensation
Series Compensation
Static Frequency Conversion
SVC Classic
Improved voltage control and power quality
Load balancing
Flicker mitigation
Increased productivity
STATCOM
Similar benefits as for SVC Classic
More robust in weak grids
Higher performance flicker mitigation
Reduced footprint
Synchronous Condenser
Increase of short circuit power
Increased network inertia
Voltage fluctuation damping (+/- Mvar control)
E-STATCOM
Similar benefits as for STATCOM
Increased network inertia
Increase of short circuit power
Fixed Series Compensation
Increased power transfer capability
Improved voltage and transient stability
Improved voltage profile along the line
Thyristor Controlled Series Compensation (TCSC)
Power oscillation damping (POD)
Inherent immunity against sub synchronous resonance (SSR)
Dynamic power flow control
Series Reactors
Short-circuit current limiter
Power flow control
Rail Static Frequency Converter (SFC)
Active power in-feeding 3 phases-1 phase to 16,7/25Hz, 50/60 Hz
Full decoupling of grids
Independent, fast control of frequency, voltage, active and reactive power on both sides
Connection to weak grids
Power Quality – FACTS Portfolio

## Slide 13: E-STATCOM – SVC Light® Enhanced
Building on Hitachi ABB Power Grids’ proven STATCOM technology, SVC Light®​
Integrating supercapacitors for energy storage – contributing with active power​
Combining the advantages of two grid-stabilizing technologies into one solution – providing both active and reactive power​
Offer multiple grid-stabilizing services – in a single solution​
Reducing the risk that unexpected system events will be causing more severe frequency disturbances than seen today​
Features
Fast voltage/ frequency support​
Synthetic inertia​
Fault current generation​
System strength support​
​Capabilities​
Up to over 400 Mvar in a single system​
Grid-forming control​
Scalable energy storage capacity in the hundreds of MWs

## Slide 14: SVC Light® Enhanced Concept
Problems with more renewables?
Frequency variations
Comparison
Lower short-circuit power
  deeper and widespread voltage dips for grid faults
  Lower power quality (larger voltage variations)
Lower inertia
  Grid fault resulting in reduced generated power (power plant or line)
  Power imbalance results in reduced frequency:
    Frequency change (slope)
    Frequency deviation
  At too high frequency change and too low frequency, loads and generators are disconnected from power system
  Lower inertia results in quicker frequency variations
Potential solutions to add inertia to increase stability:
Enhanced STATCOM:
  STATCOM (SVC Light®)
  Energy storage
  Advanced controller
Synchronous Condenser
STATCOM
Grid-stabilizing services | Traditional STATCOM | Synchronous condenser | SVC Light® Enhanced
Voltage regulation |  |  | 
Inertia |  |  | 
Short-circuit current contribution |  |  | 
Flexibility/ modularity |  |  | 
Controllability |  |  | 

## Slide 15: What services are required to operate a stable and secure grid?
Enhanced STATCOM can provide multiple services in a cost effective way
Synchronous Generators
Synchronous Generators
System strength
Voltage control
Frequency control
Inertia
Associated with
fault levels and
short circuit ratios.
Operate the system
securely and ensure safe protection systems.
Required for fault ride through and recovery from faults.
Steady operation
during normal operation and during
disturbances.
Limits rapid rate of
Change of system
frequency (RoCoF).
Balancing load & generation.
After a frequency disturbance, control required in different timescales.
(<1 sec, up to 60 sec,
1 to 5 min, >5 min)
Stable operation during normal conditions.
Assist in fault ride through and recovery during disturbances.
Synchronous Generators
New wind farms with controls
HVDC with voltage source converter
Synchronous Condensers
SVCs/ STATCOM/Enhanced STATCOM
Load shedding
Capacitors/ Reactors
Load shedding
Synchronous Generators
BESS
Synchronous Condensers
Grid Forming BESS (VSM)
Grid Forming BESS (VSM)
HVDC with voltage source converter
New wind farms with controls
FFR
BESS
Enhanced STATCOM
Enhanced STATCOM
Enhanced STATCOM
Synchronous Condensers

## Slide 16: Easy access to more in-dept material
https://www.hitachiabb-powergrids.com/offering/product-and-system/facts